This worksheet is to be used in conjunction with the interactive learning object, Swimming pool explorer. In some cases answers can be typed directly into the learning object. In other cases answers are to be written into this worksheet.

Locate and open the learning object Swimming pool explorer. Select Start to display the screen titled Introduction.

Operators of outdoor pools like to keep the temperature between 26 °C and 28 °C. Why is this range of temperatures considered ideal?

Select Next to display the screen titled Geothermal heating, then select Play and observe the animation.

Why is the reinjection bore drilled to a shallower depth than the extraction bore?

Select Next to display the screen titled Plan of attack.

Select Next to display the screen titled Heat loss from the pool.

How much heat has to be added to the pool to maintain it at a constant temperature?

Suggest ways in which heat is being lost from the pool.

The figures in the table indicate that heat loss from the pool is at its greatest in October. Suggest reasons why this might be the case, rather than other times of the year.

Select Next to display the screen titled Keeping a balance.

In the table below record correct values for flow rates in the pool circuit.

| TEMPERATURE (°C) | MASS (kg) | REQUIRED FLOW RATE (kg s-1) |
| --- | --- | --- |
| 40 |  |  |
| 43 |  |  |
| 46 |  |  |
| 49 |  |  |

By referring to the previous slide, Heat loss from the pool, write down the maximum rate of heat loss shown in the swimming pool model.

What pump rate is required to deal with the maximum rate of heat loss for:

a) the highest ground water temperature available from the above table?

b) the lowest ground water temperature available from the above table?

Select Next to display the screen titled Heat exchanger.

Follow the instructions on screen and enter values in the table below.

Note: energy transformed in this case study is calculated in kJ s-1. 1 kJ s-1 is equivalent to 1 kW.

| BORE DEPTH (m) | ENERGY SUPPLIED FROM GROUND WATER (kW) | ENERGY TRANSFERRED TO POOL WATER (kW) |
| --- | --- | --- |

Use the efficiency formula to calculate efficiency of energy transfer for any bore depth that you have selected.

Efficiency = energy output/energy input x 100 %

List factors that contribute to energy transfer through the heat exchanger being less than 100% efficient.

Why is it necessary to consider flow rate values for the maximum rate of heat loss, rather than average heat loss?

Explain why calculated values for the required flow rate for the pool circuit in Keeping a balance screen are different to those in the energy transferred column of the data table for the Heat exchanger screen.

Select Next to display the screen titled Choosing bore depth.

Calculate values for the groundwater circuit pump cost in the second table. Transfer values to the table below.

|  | GROUNDWATER CIRCUIT |
| --- | --- |
| BORE DEPTH (m) | PUMP POWER (kW h) | PUMPING COST ($) |
| 750 | 190 926 |  |
| 850 | 128 526 |  |
| 950 | 81 636 |  |
| 1050 | 62 758 |  |

Why is the cost of pumping pool water not considered in cost comparisons for the three systems (geothermal, electricity and gas)?

Select Next to display the screen titled Ten year costs.

Calculate values for empty columns in the table. Suggest which bore depth geothermal system is the most economical, over a 10 year period.

Select Next to display the screen titled Comparison.

It is obvious from figures in the table that a geothermal heating system to heat the swimming pool is the cheapest to run over 10 years. However there are other advantages that geothermal energy has over heating by gas or electricity. Suggest what these other advantages may be.